Lesson 12: Reliability, Accuracy, and Calibration

Data analysis and claim-evidence-reasoning

Grade 9 MYP Design | From USB to Field System

| Name: __________________ | Class / team: __________________ | Date: __________________ |
| --- | --- | --- |

Today’s goals • Distinguish precision and accuracy. • Calculate mean and range. • Identify noise, drift, and outliers. • State cautious conclusions.

# Key vocabulary

| Term | Working definition |
| --- | --- |
| precision |  |
| accuracy |  |
| repeatability |  |
| calibration |  |
| noise |  |
| drift |  |
| outlier |  |
| mean |  |
| range |  |
| limitation |  |

# 1. Precision or accuracy?

| Scenario | Precise? | Accurate? | Reason |
| --- | --- | --- | --- |
| Readings cluster tightly but are all far from the reference |  |  |  |
| Readings are spread out around the reference |  |  |  |
| Readings cluster tightly around the reference |  |  |  |
| No reference value is available |  |  |  |

# 2. Calculate

Use one set of repeated readings from your test.

| Reading 1 | Reading 2 | Reading 3 | Reading 4 | Reading 5 | Mean | Range |
| --- | --- | --- | --- | --- | --- | --- |

Mean = sum of readings ÷ number of readings. Range = maximum − minimum.

# 3. Graph audit

☐  Time or sample is on the x-axis.

☐  Sensor value and unit are on the y-axis.

☐  Title states what is being compared.

☐  Legend is included if more than one series is shown.

☐  Caption states test conditions and calibration status.

# 4. Outlier decision

Identify one unusual reading. Is it an outlier? What evidence or rule supports your decision? Do not delete it without explanation.

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

# 5. Claim–evidence–reasoning

Claim:

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

Evidence:

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

Reasoning:

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

Limitations and calibration status:

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

# Exit ticket

Does repeatability prove accuracy? Explain.

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________

________________________________________________________________________________________________________________